Horizontal Laminar Flow

Clean Bench Product Technical Manual

Guangzhou Cleanroom Construction Co., Ltd.

Key Features:

·  304 Stainless Steel Construction
Manufactured with 304 stainless steel for the workbench structure and countertop, providing a durable, corrosion-resistant and easy-to-clean working surface.

·  Compact Enclosed Working Area
The internal working area measures 930 × 600 × 600 mm, providing a controlled workspace for laboratory and cleanroom operations.

·  H13 HEPA Filtration
Equipped with an H13 high-efficiency filter to provide filtered airflow within the working area.

·  Multi-Stage Air Filtration
Includes both a primary filter and H13 high-efficiency filter to support effective air filtration and protect the main filtration system.

·  Integrated Lighting System
Includes one LED panel light for workspace illumination and one sterilization lamp for routine sterilization requirements.

·  Tempered Glass Side Panels
Both sides are fitted with tempered glass panels, providing visibility of the working area while maintaining an enclosed configuration.

·  Built-In Electrical Outlets
Equipped with two 220V/10A three-pin electrical outlets for connecting laboratory equipment and accessories.

·  Powerful Fan System
Fitted with a 220V, 285W fan to provide airflow for the filtration system.

·  Mobile Design
Four universal casters allow convenient movement and positioning of the workbench.

·  Standard Configuration
Unless otherwise specified, the manufacturing process and configuration are supplied according to our standard production specifications.

Technical Parameters:

| Item | Specification |
| --- | --- |
| Product Type | Stainless Steel Clean Workbench |
| Material | 304 Stainless Steel |
| Overall Dimensions | 1000 × 900 × 1500 mm |
| Internal Working Area | 930 × 600 × 600 mm |
| HEPA Filter | H13 High-Efficiency Filter |
| Primary Filter | Included |
| Fan | 220V, 285W |
| LED Panel Light | 1 pc |
| Sterilization Lamp | 1 pc |
| Side Panels | Tempered Glass, Both Sides |
| Airflow Component | Air Diffuser |
| Electrical Outlets | 2 × 220V/10A Three-Pin Sockets |
| Casters | 4 Universal Casters |
| Countertop | 304 Stainless Steel |
| Power Cable | Power Outlet Cable Included |
| Control Panel | Included |

Applications:

This 304 stainless steel clean workbench is suitable for controlled working environments where filtered airflow, easy cleaning and enclosed operation are required, including:

- Pharmaceutical laboratories

- Medical and healthcare facilities

- Biotechnology laboratories

- Microbiology laboratories

- Medical device production

- Electronics and precision component assembly

- Cleanroom production areas

- Laboratory sample preparation

- Research and development laboratories

Schematic Diagram: